SR1 Common Infrastructure Control – Step by Step

If the PC needs to be rebooted one must log on locally (in PCATICS2) using the following account:

User name : srcic

Password:    Atlasdcs1

Once the PC has been rebooted you start the PVSS console selecting the project “srCicTemp_FSM”.

This project is password protected with:

Project user : srcic

Password: atlasdcs

It is recommended to lock the project once it has been started (see figure above):

Once the project has been started a simple display is opened by default. It contains:

- Racks temperatures (possible to acknowledge alarms and trend the values)

- Temperature & Humidity in the Clean Room (trends by default)

- Temperature & Humidity in the Pixel Cupboard (trend on demand)

- CANbus & ELMB control (password protected : “atlasdcs”)

That’s it.